## Sheet1
Airsense
Part Name | Measurement | Range | Accuracy | Datasheet
TMP112 | Temperature | -40 to +125°C | ±1°C | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/airsense/tmp112.pdf
HTU21D | Temperature | -40 to +125°C | ±1°C peak | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/airsense/htu21d.pdf
| Relative Humidity | 0 to 100 %RH | ±2%RH
BMP180 | Atmospheric Pressure | 300 to 1100hPa | ±0.02hPa (0.17m) | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/airsense/bmp180.pdf
| Temperature | -40 to +85 °C | ±1.0°C
PR103J2 | Temperature | -55 to +80 °C | ±0.05°C | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/airsense/pr103j2.pdf
TSL251RD | Visible Light Intensity, λp = 640nm | 0 to 124 μW/cm2 | 16 μW/cm2 | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/airsense/tsl250rd.pdf
MMA8452Q | 3 axis acceleration | ±8 g | ±20 mg | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/airsense/mma8452q.pdf
SPV1840LR5H-B | Instantaneous Sound Sample | Acoustic Overload point 121 dB SPL | -38 dBV/Pa | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/airsense/spv1840lr5h-b.pdf
TSYS01 | Temperature | -40°C to +125 °C | 0.5 °C | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/airsense/tsys01.pdf
Lightsense
Part Name | Measurement | Range | Accuracy | Datasheet
HMC5883L | 3 axis magnetic field intensity | ±8 gauss | ±0.002 gauss | Datasheet
HIH6130 | Temperature | -25 to +85°C | ±1.0°C | Datasheet
| Relative Humidity | 0 to 100 %RH | ±0.05 %RH
APDS-9006-020 | Light Intensity, λp = 500nm | 0 to 1000 LUX | ±0.68 % | Datasheet
TSL261RD | Light Intensity, λp = 940nm | 0 to 132 μW/cm2 | ±15 μW/cm2 | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/lightsense/tsl250rd.pdf
TSL251RD | Light Intensity, λp = 640nm | 0 to 124 μW/cm2 | ±16 μW/cm2 | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/lightsense/tsl250rd.pdf
MLX75305 | Light Intensity, λp = 700nm | 0 to 160 μW/cm2 | ±15 μW/cm2 | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/lightsense/mlx75305c.pdf
ML8511 | Light Intensity, λp = 365nm | 0 to 15mW/cm2 | ±1% | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/lightsense/ml8511.pdf
TMP421 | Temperature | –55 to +127°C | ±1.25°C | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/lightsense/tmp421.pdf
D6T-44L-06 | Temperature | 0 to 50°C | ±1.5°C | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/lightsense/en-d6t.pdf
MLX90614 | Temperature | -40 to +85 C | ±0.5°C | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/lightsense/mlx90614.pdf
Chemsense
Part Name | Measurement | Range | Accuracy | Datasheet
SHT25 | Temperature | -40 to +125°C | ±0.2°C | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/chemsense/sht25.pdf
| Humidity | 0 to 100%RH | ±1.8%RH
LPS25H | Temperature | -30 to +105°C | ±2°C | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/chemsense/lps25h.pdf
| Atmospheric Pressure | 260 to 1260 hPa | ±0.2hPa
Total Reducing Gases
Total Oxidizing Gases
Sulfur Dioxide | SO2 Concentration | 0 to 20 ppm | ±3% of reading | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/chemsense/so2.pdf
Hydrogen Sulfide | H2S Concentration | 0 to 50 ppm | ±3% of reading | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/chemsense/h2s.pdf
Ozone | O3 Concentration | 0 to 20 ppm | ±3% of reading | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/chemsense/03.pdf
Nitrous Oxide | NO2 Concentration | 0 to 20 ppm | ±3% of reading | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/chemsense/no2.pdf
Carbon Monoxide | CO Concentration | 0 to 1,000 ppm | ±2% of reading | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/chemsense/co.pdf
BMI160 | 3 axis acceleration | ±16g | 300μg/√Hz | http://www.mcs.anl.gov/research/projects/waggle/downloads/datasheets/chemsense/bmi160.pdf
| 3 axis orientation | 2000°/s | 0.07°/s rms
OPC-N2
Part Name | Measurement | Range | Accuracy | Datasheet
OPC-N2 | PM1 PM2.5 and PM10 in μg/m3